## Data Sheet
7270 S 13th St, Ste 201
Oak Creek, WI 53154
PH: (414) 768-7420
FX: (414) 762-0632
Cooling System Application Data Sheet | [16 empty] | Date:
SALES OFFICE | [10 empty] | ADDRESS | [5 empty] | CITY/STATE/ZIP
TELEPHONE | [6 empty] | FAX | [7 empty] | EMAIL
Please complete the following installation and product information and forward to your Young Touchstone sales office for a cooling system solution to meet your specifications.
NAME | [10 empty] | COMPANY
CITY | [10 empty] | STATE |  |  |  | ZIP
TELEPHONE | [6 empty] | FAX | [7 empty] | EMAIL
Generator Set Model Number: | [10 empty] | Engine Manufacturer:
| kW Rating: | [9 empty] | Engine Model:
|  | Standby |  | Prime |  |  | Continuous |  |  |  | Engine Spec Number:
[11 empty] | Engine bhp: | [5 empty] | @rpm:
Please Attach Engine Data Sheet with this Request for Quote
RADIATOR SERIES TYPE REQUIRED:
Vertical Genset Mounted, Engine Crankshaft Driven Fan with Fan on Engine - FE
Vertical Genset Mounted, Engine Crankshaft Driven Fan with Fan on Radiator - FR
| Required Fan Drive Data: | [7 empty] | Fan Drive Ratio | [6 empty] | Allowable Fan HP Draw
Note: Please provide fan curve and ALL fan data for an engine supplied fan.
Vertical Remote Radiator (Direct Electric Motor Driven - VM, Electric Motor/Belt Driven - VB)
Horizontal Remote Radiator (Direct Electric Motor Driven - HM, Electric Motor/Belt Driven - HB)
Required Electrical Motor Data: | Required Electrical Motor: | [6 empty] | Phase |  |  |  | Voltage |  |  | Hertz |  |  | Max Allowable HP
COOLING SYSTEM REQUIREMENTS:
Jacket Water Circuit (Circuit 1)
Heat Rejection: |  |  |  |  | BTU/min
Coolant Type: |  |  |  | Water |  | Ethylene Glycol/Water | [5 empty] | % EG |  |  | Propylene Glycol/Water | [5 empty] | % PG
Coolant Flow: |  |  |  |  | GPM
Max Coolant Temp: |  |  |  |  | Radiator Inlet |  |  |  |  | Radiator Outlet |  |  |  |  | oF
Maximum pressure drop: | [6 empty] | psi |  |  | Radiator Only |  |  |  |  | Total System
After Cooler Circuit (Circuit 2)
After Cooler Type: |  |  |  |  | N/A |  |  | Coolant |  |  | Turbo-Charged Air
Heat Rejection: | [5 empty] | BTU/min
If After Cooler Type is Coolant complete the following: | [9 empty] | If After Cooler Type is Turbo Charged Air complete the following:
Coolant Type: |  |  | Water | [8 empty] | Charge Air
|  |  | Ethylene Glycol/Water | [5 empty] | % EG
|  |  | Propylene Glycol/Water | [5 empty] | % PG
Coolant Flow: |  |  |  |  | GPM | [5 empty] | Air Flow: | [5 empty] | scfm |  | lb/min
[11 empty] | Air Pressure: | [5 empty] | psig |  | in Hg
Max Coolant Temp: | [5 empty] | Radiator Inlet |  |  |  |  | Max Air Temp: | [5 empty] | Charge Air Cooler Inlet
[6 empty] | Radiator Outlet | [10 empty] | Charge Air Cooler Outlet
[6 empty] | oF | [10 empty] | oF
Max Pressure Drop: | [5 empty] | Radiator Only |  |  |  |  | Max Pressure Drop: | [5 empty] | Charge Air Cooler Only
[6 empty] | Total System | [10 empty] | Total System
[6 empty] | psi | [10 empty] | psi |  | in Hg
SITE CONDITIONS:
Maximum Ambient Air Temperature | [7 empty] | oF
Maximum Air Temperature @ Fan | [7 empty] | oF
Elevation | [7 empty] | Feet Above Sea Level
Additional Fan Static Resistance: | [7 empty] | No |  | Yes |  |  |  | in. water static
Sound Level Requirements: | [7 empty] | No |  | Yes |  |  | dB(A) @ |  |  |  |  | Feet |  | Meters
Salt Air or Corrosive Environment: | [7 empty] | No |  | Yes | Describe:
Additional Design Requirements:
-or-